## Slide 1: MAINTENANCE & SAFETY OF TERMINALS
SHIVANI VINAY WAKADE
YASH PARMAR
AFSAR SAZAULLAH
TANAY ATPADKAR
ADITYA KUMAR JHA
SHUBHANG PRASAD
RAJU BANOTH
SANJAY SOREN
PRAVEEN KUMAR BANOTH

## Slide 2: MAINTENANCE

## Slide 3: maintenance
CONE ROOF TANKS
Annular plate extensions
Air vent
Water marks on roof
Earthing strip

## Slide 4: maintenance
Sprinkler systems
Stair case and handrails
Water drains
Sand Pad foundation
Tank cleaning

## Slide 6: maintenance
FLOATING ROOF
Pontoons
Articulated drains
PV valves
Auto Bleeder vent

## Slide 7: maintenance
Sprinkler system
Primary and secondary seal
Foam Dam
Sand Pad foundation
Tank cleaning

## Slide 8: Pipeline maintenance
PIPELINES TYPES
Hydrant Lines
Product Lines

## Slide 9: Pipeline Maintenance
Solid rod between pipe and foundation
Guiding rods
Wrapping coating in underground pipeline
Inspection of pipeline foundation
No Vegetation

## Slide 10: Pipeline Maintenance
Pressure testing
Clamps for leakage
Cathodic Protection
Route Lines

## Slide 12: Pumps Maintenance
Strainer Cleaning
Vibration Check
Temperature Checks
Rubber mat

## Slide 13: Pumps Maintenance
Flame Protection
Coupling guard
Pump house manifold
Body Earthing

## Slide 14: electrical maintenance
Electrical Audit by CEA every 3 years
Periodic change of transformer oil
Periodic replacement of silica gel in transformers

## Slide 15: SAFETY

## Slide 16: SAFETY

## Slide 17: SAFETY

## Slide 18: SAFETY EQUIPMENTS
DCP
Medium Expansion Foam Generator (MEFG)
High Velocity Long Range Monitor
Hydrocarbon Detectors
Dyke valve indicator
Level Alarms (HHH, HH, H, L, LL, LLL)

## Slide 19: Safety of TT
Hazardous Chemical handling certification
Green Card
Battery cut-off
Master valve
Emergency valve
Safety lock

## Slide 20: Safety of TT
Spark Arrestors
Space between tanker and driver cabin
Tank size less than drivers cabin
Lead fire safety link
Earthing
Air vent

## Slide 21: SAFETY
Water Sprinkler System
Emergency Alarms
Fire Water Pump House
Flame Proof Equipments
Earthing

## Slide 22: SAFETY
Frisking
Sand Buckets
Follow SOP
PPEs

## Slide 23
THANK YOU